## Analysis
Param Key | Prefix | Suffix | Description | Units | Type | Data | Example (charge) | Example (discharge)
bmsMaster.amp | bmsMaster | amp | Milliamps in (+) or out (-) of battery | mA | Current |  | -50, 6355 | -50, -101, -1974
bmsMaster.bmsFault | bmsMaster | bmsFault |  |  |  |  | 0 | 0
bmsMaster.bqSysStatReg | bmsMaster | bqSysStatReg |  |  |  |  | 128 | 128
bmsMaster.cellId | bmsMaster | cellId |  |  |  |  | 1 | 1
bmsMaster.cycles | bmsMaster | cycles | Maybe charge-discharge cycles? | count? |  |  | 3 | 3
bmsMaster.designCap | bmsMaster | designCap | Battery design capacity when new | mAh | Capacity | Health | 40000 | 40000
bmsMaster.errCode | bmsMaster | errCode |  |  |  |  | 0 | 0
bmsMaster.f32ShowSoc | bmsMaster | f32ShowSoc | Master Battery Charge (floating-point decimal) | % | Percent | Status | 73.181 | 85.655
bmsMaster.fullCap | bmsMaster | fullCap | Battery actual capacity when full now | mAh | Capacity | Health | 36282 | 36282
bmsMaster.inputWatts | bmsMaster | inputWatts | Unknown (reports zero while charging on AC, car, solar) |  |  |  | 0 | 0
bmsMaster.maxCellTemp | bmsMaster | maxCellTemp | Maximum (since when, or within pack?) cell temp | C | Temp | Health | 27 | 27
bmsMaster.maxCellVol | bmsMaster | maxCellVol | Highest (since when, or now?) cell Voltage within pack? | mV | Voltage | Health | 3934 | 4020
bmsMaster.maxMosTemp | bmsMaster | maxMosTemp | Maximum (since when?) MOSFET temp? | C | Temp |  | 28 | 29
bmsMaster.minCellTemp | bmsMaster | minCellTemp | Minimum (since when, or within pack?) cell temp | C | Temp | Health | 27 | 27
bmsMaster.minCellVol | bmsMaster | minCellVol | Lowest (since when, or now?) cell Voltage within pack? | mV | Voltage | Health | 3929 | 4014
bmsMaster.minMosTemp | bmsMaster | minMosTemp | Maximum (since when?) MOSFET temp? | C | Temp |  | 28 | 29
bmsMaster.num | bmsMaster | num |  |  |  |  | 0 | 0
bmsMaster.openBmsIdx | bmsMaster | openBmsIdx |  |  |  |  | 1 | 1
bmsMaster.outputWatts | bmsMaster | outputWatts | Unknown (always zero?) |  |  |  | 0 | 0
bmsMaster.remainCap | bmsMaster | remainCap | Battery remaining charge measure in mAh | mAh | Capacity |  | 26546 | 31077
bmsMaster.remainTime | bmsMaster | remainTime | Unknown (always zero?) |  |  |  | 0 | 0
bmsMaster.soc | bmsMaster | soc | Main Battery Charge (integer) | % | Percent |  | 73 | 86
bmsMaster.soh | bmsMaster | soh | Unknown (always zero?) |  |  |  | 0 | 0
bmsMaster.sysVer | bmsMaster | sysVer |  |  |  |  | 16843535 | 16843535
bmsMaster.tagChgAmp | bmsMaster | tagChgAmp | Unknown |  |  |  | 20000, 32000 | 20000
bmsMaster.temp | bmsMaster | temp | Main Temperature Report | C | Temp | Status | 27 | 27
bmsMaster.type | bmsMaster | type |  |  |  |  | 1 | 1
bmsMaster.vol | bmsMaster | vol | Voltage of pack? | mV |  |  | 55246 | 56454
bmsSlave1.amp | bmsSlave1 | amp | Milliamps in (+) or out (-) of battery | mA | Current |  | 10001
bmsSlave1.bmsFault | bmsSlave1 | bmsFault
bmsSlave1.bqSysStatReg | bmsSlave1 | bqSysStatReg
bmsSlave1.cellId | bmsSlave1 | cellId
bmsSlave1.cycles | bmsSlave1 | cycles
bmsSlave1.designCap | bmsSlave1 | designCap
bmsSlave1.errCode | bmsSlave1 | errCode
bmsSlave1.f32ShowSoc | bmsSlave1 | f32ShowSoc | Extra Battery 1 Charge (floating-point decimal) | % | Percent | Status | 36.0632
bmsSlave1.fullCap | bmsSlave1 | fullCap
bmsSlave1.inputWatts | bmsSlave1 | inputWatts | Charge rate | Watts | Power | Charge | 528
bmsSlave1.maxCellTemp | bmsSlave1 | maxCellTemp
bmsSlave1.maxCellVol | bmsSlave1 | maxCellVol
bmsSlave1.maxMosTemp | bmsSlave1 | maxMosTemp
bmsSlave1.minCellTemp | bmsSlave1 | minCellTemp
bmsSlave1.minCellVol | bmsSlave1 | minCellVol
bmsSlave1.minMosTemp | bmsSlave1 | minMosTemp
bmsSlave1.num | bmsSlave1 | num | External Battery Number |  |  |  | 1
bmsSlave1.openBmsIdx | bmsSlave1 | openBmsIdx
bmsSlave1.outputWatts | bmsSlave1 | outputWatts | Discharge rate | Watts | Power | Discharge | 0
bmsSlave1.remainCap | bmsSlave1 | remainCap | Battery remaining charge measure in mAh | mAh | Capacity
bmsSlave1.remainTime | bmsSlave1 | remainTime | Charge Discharge Remain Time (?) | minutes | Time | Status | 160
bmsSlave1.soc | bmsSlave1 | soc | Battery Charge (integer) | % | Percent |  | 36
bmsSlave1.soh | bmsSlave1 | soh |  |  |  |  | 0
bmsSlave1.sysVer | bmsSlave1 | sysVer
bmsSlave1.tagChgAmp | bmsSlave1 | tagChgAmp |  |  |  |  | 10000
bmsSlave1.temp | bmsSlave1 | temp | Ext Batt Temperature Report | C | Temp | Status | 27
bmsSlave1.type | bmsSlave1 | type
bmsSlave1.vol | bmsSlave1 | vol
ems.bms0Online | ems | bms0Online | Main unit energy management system status |  |  |  | 3 | 3
ems.bms1Online | ems | bms1Online | Expansion Battery (0=none, 3= delta max smart-battery connected) |  |  |  | 0 | 0
ems.bms2Online | ems | bms2Online | Expansion Battery (0=none, 3= delta max smart-battery connected) |  |  |  | 0 | 0
ems.bmsModel | ems | bmsModel |  |  |  |  | 1 | 1
ems.bmsWarningState | ems | bmsWarningState |  |  |  |  | 0 | 0
ems.chgAmp | ems | chgAmp |  |  |  |  | 60000 | 60000
ems.chgCmd | ems | chgCmd |  |  |  |  | 1 | 1
ems.chgRemainTime | ems | chgRemainTime | Charge time in minutes (5999 if not charging) | minutes | Time | Status | 5999, 61, 223 | 5999
ems.chgState | ems | chgState |  |  |  |  | 1 | 1
ems.chgVol | ems | chgVol | Maybe the voltage going into the pack? |  |  |  | 57627 | 57460
ems.dsgCmd | ems | dsgCmd |  |  |  |  | 1 | 1
ems.dsgRemainTime | ems | dsgRemainTime | Discharge remain time ( 5999 when charging) | minutes | Time | Status | 5999 | 700, 942
ems.emsIsNormalFlag | ems | emsIsNormalFlag |  |  |  |  | 1 | 1
ems.f32LcdShowSoc | ems | f32LcdShowSoc | combined Battery Charge (floating-point decimal) to put on LCD | % | Percent | Status | 73.163 | 85.3977
ems.fanLevel | ems | fanLevel |  |  |  |  | 0 | 0
ems.lcdShowSoc | ems | lcdShowSoc | combined Battery Charge (Integer) to put on LCD | % | Percent |  | 73 | 86
ems.maxAvailableNum | ems | maxAvailableNum | Maybe number of batteries+expansion | count |  | Status | 1 | 1
ems.maxChargeSoc | ems | maxChargeSoc | Software Charge Limit | % | Percent | Config | 85 | 85
ems.maxCloseOilEbSoc | ems | maxCloseOilEbSoc | Smart Generator Auto-Stop Charge Limit | % | Percent | Config | 80 | 80
ems.minDsgSoc | ems | minDsgSoc | Software Charge Limit | % | Percent | Config | 15 | 15
ems.minOpenOilEbSoc | ems | minOpenOilEbSoc | Smart Generator Auto-Start Charge Limit | % | Percent | Config | 20 | 20
ems.openBmsIdx | ems | openBmsIdx |  |  |  |  | 1 | 1
ems.openUpsFlag | ems | openUpsFlag |  |  |  |  | 1 | 1
ems.paraVolMax | ems | paraVolMax | Maybe max voltage among all connected internal/external batteries? | mV | Voltage |  | 56229 | 57377
ems.paraVolMin | ems | paraVolMin | Maybe min voltage among all connected internal/external batteries? | mV | Voltage |  | 54231 | 55377
inv.acDipSwitch | inv | acDipSwitch | Position of AC-Charge rate switch (1=Fast/Max, 2=Slow/Custom) | boolean | boolean | Status | 2 | 2
inv.acInAmp | inv | acInAmp | AC Mains Input Current | mA | Current | Charge | 3390 | 0
inv.acInFreq | inv | acInFreq | AC Mains Input Frequency | Hz | Frequency | Charge | 60 | 0
inv.acInVol | inv | acInVol | AC Mains Input Voltage | mV | Voltage | Charge | 117191 | 0
inv.acPassByAutoEn | inv | acPassByAutoEn |  |  |  |  | 0 | 0
inv.cfgAcEnabled | inv | cfgAcEnabled | AC Output On/Off (passthru or battery) | boolean | boolean | Output | 0 | 0, 1
inv.cfgAcOutFreq | inv | cfgAcOutFreq |  |  |  |  | 2 | 2
inv.cfgAcOutVoltage | inv | cfgAcOutVoltage |  |  |  |  | 120000 | 120000
inv.cfgAcWorkMode | inv | cfgAcWorkMode |  |  |  |  | 0 | 0
inv.cfgAcXboost | inv | cfgAcXboost | X-Boost On/Off | boolean | boolean | Status | 0 | 0, 1
inv.cfgFastChgWatts | inv | cfgFastChgWatts | Max charge rate in "Fast/Max" switch position | Watts | Power | Status | 1800 | 1800
inv.cfgSlowChgWatts | inv | cfgSlowChgWatts | Max charge rate "slow/custom" switch position (user-specified) | Watts | Power | Config | 400 | 400
inv.cfgStandbyMin | inv | cfgStandbyMin | AC Inverter auto-shutdown time | minutes | Time | Config | 0 | 0
inv.chargerType | inv | chargerType | AC charge indicator? AC charge=1, discharge/car charge/solar charge=0 | boolean | boolean |  | 0, 1
inv.chgPauseFlag | inv | chgPauseFlag |  |  |  |  | 0 | 0
inv.dcInAmp | inv | dcInAmp | Unknown (always zero?) |  |  |  | 0 | 0
inv.dcInTemp | inv | dcInTemp | Inverter something temperatures? | C | Temp |  | 31 | 30
inv.dcInVol | inv | dcInVol | Unknown (always zero?) |  |  |  | 0 | 0
inv.dischargeType | inv | dischargeType | AC output on Battery Inverter | boolean | boolean | Output | 0 | 0, 1
inv.errCode | inv | errCode |  |  |  |  | 0
inv.fanState | inv | fanState | Cooling fans 0=fan off, 1=fans on | boolean | boolean | Status | 0
inv.inputWatts | inv | inputWatts | AC Mains Input Watts | Watts | Power | Charge | 337
inv.invOutAmp | inv | invOutAmp | AC Inverter Mains Output Current | mA | Current | Discharge | 0 | 0, 1066
inv.invOutFreq | inv | invOutFreq | AC Inverter Mains Output Frequency | Hz | Frequency | Discharge | 0 | 60
inv.invOutVol | inv | invOutVol | AC Inverter Mains Output Voltage | mV | Voltage | Discharge | 0 | 0, 119552
inv.invType | inv | invType |  |  |  |  | 0 | 0
inv.outputWatts | inv | outputWatts | AC Inverter Mains Output Watts | Watts | Power | Discharge | 0 | 0, 125
inv.outTemp | inv | outTemp | Inverter something temperatures? | C | Temp |  | 31, 44 | 31
inv.sysVer | inv | sysVer |  |  |  |  | 16843552 | 16843552
latestTimeStamp | #VALUE! | #VALUE! | Data time-stamp (Epoch/UNIX Format) |  | Time | Status | 1671242724420 | 1671241751857
mppt.carOutAmp | mppt | carOutAmp | 12V Output Current | Amps (x100) | Current | Discharge | 0 | 2, 775
mppt.carOutVol | mppt | carOutVol | 12V Output Voltage | Volts (x10) | Voltage | Discharge | 0 | 127
mppt.carOutWatts | mppt | carOutWatts | 12V Output Watts | Watts (x10) | Power | Discharge | 0 | 970
mppt.carState | mppt | carState | 12V Output Enabled | boolean | boolean | Output | 0 | 1
mppt.carTemp | mppt | carTemp |  |  |  |  | 0 | 0
mppt.cfgChgType | mppt | cfgChgType |  |  |  |  | 0 | 0
mppt.cfgDcChgCurrent | mppt | cfgDcChgCurrent |  |  |  |  | 0 | 0
mppt.chgPauseFlag | mppt | chgPauseFlag |  |  |  |  | 0 | 0
mppt.chgState | mppt | chgState | Discharge=0, AC Charge=0, Car charge=1, Solar charge=1 | Key? |  |  | 1 | 0
mppt.chgType | mppt | chgType | Discharge=0, AC Charge=0, Car charge=1, Solar charge=2 | Key? |  | Charge | 1,2 | 0
mppt.dc24vState | mppt | dc24vState |  |  |  |  | 0 | 0
mppt.dc24vTemp | mppt | dc24vTemp | Unknown temp | C | Temp |  | 34, 41 | 34
mppt.dcdc12vAmp | mppt | dcdc12vAmp |  |  |  |  | 0 | 0
mppt.dcdc12vVol | mppt | dcdc12vVol |  |  |  |  | 0 | 0
mppt.dcdc12vWatts | mppt | dcdc12vWatts |  |  |  |  | 0 | 0
mppt.faultCode | mppt | faultCode |  |  |  |  | 0 | 0
mppt.inAmp | mppt | inAmp | XT60 DC in current | Amps (x100) | Current | Charge | 795,241 | 0
mppt.inVol | mppt | inVol | XT60 DC in voltage | Volts (x10) | Voltage | Charge | 120,190 | 0
mppt.inWatts | mppt | inWatts | XT60 DC in power | Watts (x10) | Power | Charge | 966,481 | 0
mppt.mpptTemp | mppt | mpptTemp | Unknown temp | C | Temp |  | 34, 52,65 | 32
mppt.outAmp | mppt | outAmp | Internal Battery DC rail current? |  |  |  | 138, 424 | 8, 3
mppt.outVol | mppt | outVol | Internal Battery DC rail voltage? |  |  |  | 555,542 | 552
mppt.outWatts | mppt | outWatts | Internal Battery DC rail power? |  |  |  | 770, 440 | 21
mppt.swVer | mppt | swVer |  |  |  |  | 33554974 | 33554974
mppt.xt60ChgType | mppt | xt60ChgType | Car cord=1, none/generic cord=0 ??? | key? |  |  | 0, 1 | 0
pd.beepState | pd | beepState | Beeper muted (0=normal, 1=mute) | boolean | boolean | Config | 0, 1 | 0, 1
pd.carState | pd | carState |  |  |  |  | 0 | 0
pd.carTemp | pd | carTemp |  |  |  |  | 0 | 0
pd.carUsedTime | pd | carUsedTime | DC Out cumulative runtime counter? |  |  |  |  | 4219
pd.carWatts | pd | carWatts |  |  |  |  | 0 | 0
pd.chgPowerAc | pd | chgPowerAc | Unknown (cumulative watts?) |  |  |  | 5181 | 5139
pd.chgPowerDc | pd | chgPowerDc | Unknown (cumulative watts?) |  |  |  | 413 | 408
pd.chgSunPower | pd | chgSunPower | Unknown (cumulative watts?) |  |  |  | 16 | 0
pd.dcInUsedTime | pd | dcInUsedTime | DC In cumulative runtime counter? |  |  |  | 2631 | 2570
pd.dcOutState | pd | dcOutState | USB power enabled | boolean | boolean | Output | 0 | 0, 1
pd.dsgPowerAc | pd | dsgPowerAc | Unknown (cumulative watts?) |  |  |  | 2693 | 2688
pd.dsgPowerDc | pd | dsgPowerDc | Unknown (cumulative watts?) |  |  |  | 328 | 324
pd.errCode | pd | errCode |  |  |  |  | 0 | 0
pd.iconAcFreqMode | pd | iconAcFreqMode |  |  |  |  | 1 | 1
pd.iconAcFreqState | pd | iconAcFreqState |  |  |  |  | 0 | 0
pd.iconBmsErrMode | pd | iconBmsErrMode |  |  |  |  | 0 | 0
pd.iconBmsErrState | pd | iconBmsErrState |  |  |  |  | 0 | 0
pd.iconBmsParallelMode | pd | iconBmsParallelMode |  |  |  |  | 0 | 0
pd.iconBmsParallelState | pd | iconBmsParallelState |  |  |  |  | 0 | 0
pd.iconBtMode | pd | iconBtMode |  |  |  |  | 0 | 0
pd.iconBtState | pd | iconBtState |  |  |  |  | 0 | 0
pd.iconCarMode | pd | iconCarMode | Unknown |  |  |  | 1 | 1
pd.iconCarState | pd | iconCarState | Unknown |  |  |  | 0 | 0
pd.iconChgStationMode | pd | iconChgStationMode |  |  |  |  | 0 | 0
pd.iconChgStationState | pd | iconChgStationState |  |  |  |  | 0 | 0
pd.iconCoGasMode | pd | iconCoGasMode |  |  |  |  | 0 | 0
pd.iconCoGasState | pd | iconCoGasState |  |  |  |  | 0 | 0
pd.iconEcoMode | pd | iconEcoMode |  |  |  |  | 0 | 0
pd.iconEcoState | pd | iconEcoState |  |  |  |  | 0 | 0
pd.iconFactoryMode | pd | iconFactoryMode |  |  |  |  | 0 | 0
pd.iconFactoryState | pd | iconFactoryState |  |  |  |  | 0 | 0
pd.iconFanMode | pd | iconFanMode |  |  |  |  | 0, 1 | 0
pd.iconFanState | pd | iconFanState |  |  |  |  | 0 | 0
pd.iconGasGenMode | pd | iconGasGenMode |  |  |  |  | 0 | 0
pd.iconGasGenState | pd | iconGasGenState |  |  |  |  | 0 | 0
pd.iconHiTempMode | pd | iconHiTempMode |  |  |  |  | 0 | 0
pd.iconHiTempState | pd | iconHiTempState |  |  |  |  | 0 | 0
pd.iconInvParallelMode | pd | iconInvParallelMode |  |  |  |  | 0 | 0
pd.iconInvParallelState | pd | iconInvParallelState |  |  |  |  | 0 | 0
pd.iconLowTempMode | pd | iconLowTempMode |  |  |  |  | 0 | 0
pd.iconLowTempState | pd | iconLowTempState |  |  |  |  | 0 | 0
pd.iconOverloadMode | pd | iconOverloadMode |  |  |  |  | 0 | 0
pd.iconOverloadState | pd | iconOverloadState |  |  |  |  | 0 | 0
pd.iconPackHeaterMode | pd | iconPackHeaterMode |  |  |  |  | 0 | 0
pd.iconPackHeaterState | pd | iconPackHeaterState |  |  |  |  | 0 | 0
pd.iconRcMode | pd | iconRcMode |  |  |  |  | 0 | 0
pd.iconRcState | pd | iconRcState |  |  |  |  | 0 | 0
pd.iconRechgTimeMode | pd | iconRechgTimeMode |  |  |  |  | 0 | 0
pd.iconRechgTimeState | pd | iconRechgTimeState |  |  |  |  | 0 | 0
pd.iconSocUpsMode | pd | iconSocUpsMode | Value 1 when AC-output in use? |  |  |  | 0 | 0, 1
pd.iconSocUpsState | pd | iconSocUpsState |  |  |  |  | 0 | 0
pd.iconSolarBracketMode | pd | iconSolarBracketMode |  |  |  |  | 0 | 0
pd.iconSolarBracketState | pd | iconSolarBracketState |  |  |  |  | 0 | 0
pd.iconSolarPanelMode | pd | iconSolarPanelMode |  |  |  |  | 0 | 0
pd.iconSolarPanelState | pd | iconSolarPanelState |  |  |  |  | 0 | 0
pd.iconTransSwMode | pd | iconTransSwMode |  |  |  |  | 0 | 0
pd.iconTransSwState | pd | iconTransSwState |  |  |  |  | 0 | 0
pd.iconTypecMode | pd | iconTypecMode | Value 1 when USB-A (fast or regular) in use? |  |  |  | 0 | 0
pd.iconTypecState | pd | iconTypecState |  |  |  |  | 0 | 0
pd.iconUsbMode | pd | iconUsbMode | Value 1 when USB-C in use? |  |  |  | 0 | 0
pd.iconUsbState | pd | iconUsbState |  |  |  |  | 0 | 0
pd.iconWifiMode | pd | iconWifiMode |  |  |  |  | 0 | 0, 1
pd.iconWifiState | pd | iconWifiState |  |  |  |  | 0 | 0
pd.iconWindGenMode | pd | iconWindGenMode |  |  |  |  | 0 | 0
pd.iconWindGenState | pd | iconWindGenState |  |  |  |  | 0 | 0
pd.iconWirelessChgMode | pd | iconWirelessChgMode |  |  |  |  | 0 | 0
pd.iconWirelessChgState | pd | iconWirelessChgState |  |  |  |  | 0 | 0
pd.invUsedTime | pd | invUsedTime | Inverter cumulative runtime? |  |  |  | 214706 | 169470
pd.kit0 | pd | kit0 |  |  |  |  | 0 | 0
pd.kit1 | pd | kit1 |  |  |  |  | 0 | 0
pd.kit2 | pd | kit2 |  |  |  |  | 0 | 0
pd.lcdBrightness | pd | lcdBrightness |  |  |  |  | 100 | 100
pd.lcdOffSec | pd | lcdOffSec | LCD off-delay Timeout (seconds) | seconds | Time | Config | 300 | 300
pd.model | pd | model |  |  |  |  | 1 | 1
pd.mpptUsedTime | pd | mpptUsedTime | MPPT converter cumulative runtime? |  |  |  | 80,1656 | 80
pd.qcUsb1Watts | pd | qcUsb1Watts | USB-A Fast-charge Port 1 Watts | Watts | Power | Discharge | 0 | 0
pd.qcUsb2Watts | pd | qcUsb2Watts | USB-A Fast-charge Port 2 Watts | Watts | Power | Discharge | 0 | 0
pd.remainTime | pd | remainTime | Time to full (5999=not charging/idle) | minutes | Time | Status | 5999, 61, 222, 806 | 5999, 927, 681
pd.soc | pd | soc | Battery charge percent | % | Percent |  | 73 | 85
pd.standByMode | pd | standByMode | Unit Timeout Auto Shutdown | Minutes | Time | Config | 0 | 0
pd.sysChgDsgState | pd | sysChgDsgState | Unknown key (1=idle, 2=charging) | key? | boolean | Status | 1, 2 | 1
pd.sysVer | pd | sysVer |  |  |  |  | 16844309 | 16844309
pd.typccUsedTime | pd | typccUsedTime | USB cumulative on time? |  |  |  | 4079 | 3998
pd.typec1Temp | pd | typec1Temp | USB port temp? | C |  |  | 27 | 26
pd.typec1Watts | pd | typec1Watts | USB-C Port 1 Watts | Watts | Power | Discharge | 0 | 0
pd.typec2Temp | pd | typec2Temp | USB port temp? | C |  |  | 28 | 26
pd.typec2Watts | pd | typec2Watts | USB-C Port 2 Watts | Watts | Power | Discharge | 0 | 0
pd.usb1Watts | pd | usb1Watts | USB-A Standard-charge Port 1 Watts | Watts | Power | Discharge |  | 0
pd.usb2Watts | pd | usb2Watts | USB-A Standard-charge Port 2 Watts | Watts | Power | Discharge |  | 0
pd.usbqcUsedTime | pd | usbqcUsedTime |  |  |  |  | 4089 | 4011
pd.usbUsedTime | pd | usbUsedTime |  |  |  |  | 4197 | 3999
pd.wattsInSum | pd | wattsInSum | Total power in | Watts | Power | Charge | 0, 381, 97, 47 | 0
pd.wattsOutSum | pd | wattsOutSum | Total power out | Watts | Power | Discharge | 0 | 0, 96, 121
pd.wifiAutoRcvy | pd | wifiAutoRcvy |  |  |  |  | 0 | 0
pd.wifiRssi | pd | wifiRssi |  |  |  |  | 0 | 0
pd.wifiVer | pd | wifiVer |  |  |  |  | 0 | 0
pd.wirelessWatts | pd | wirelessWatts |  |  |  |  | 0 | 0
** None, appears to be polled by sending 'set' command "params": {"id": 72} and monitoring set_reply for "data": {"data": 8000,"cmdSet": 32,"ack": 0,"id": 72} the "data" value of 8000 is 8 Amps |  |  | Car Input Max Amps | mA | Current | Config | 8000 | 8000

## Color Key
Config Options
Status
Input Energy
Output Energy
Output Enabled